# Annex I - Selection Criteria Table

Tenderers shall complete the table below and submit the required supporting documents. All criteria are mandatory and assessed on a pass/fail basis.

| No. | Criterion | Minimum Requirement | Documents to be Submitted | Tenderer’s Response/ Supporting Evidence/ Reference | Pass/ Fail |
| --- | --- | --- | --- | --- | --- |
| 1 | Legal & EU Presence | Established in the EU/EEA (registered office or permanent branch within the EU/EEA). Eligible under EU funding rules and not subject to exclusion. Not subject to bankruptcy or insolvency proceedings. | • Company registration extract (EU Member State) • Proof of EU/EEA establishment (if branch) • Signed Eligibility of Compliance Statement (Annex II) or an official certificate issued by the competent authority. |  |  |
| 2 | Compliance with EU Sanctions | Candidate, parent company, and key subcontractors must not be subject to EU restrictive measures or sanctions in force. Certification required. Any tenderer in violation will be excluded. | • Signed Sanctions c (Annex III) • (Optional) Evidence of sanctions list check |  |  |
| 3 | Experience | Minimum of 5 comparable contracts for supply & installation of onshore wind turbines, with installed capacity ≥100 MW each, completed in the EU/EEA during the last 5 years, including commissioning. | • List of references (client, scope, year, value, role) • Certificates of satisfactory execution (if available) |  |  |
| 4 | Financial Capacity | Average annual turnover ≥ €300 million over the last 3 financial years. Positive equity. | • Audited financial statements (last 3 years) • Declaration of turnover |  |  |
| 5 | Technical Capacity | CE marking and IEC 61400 certification for turbines. Compliance with national grid code of Latvia. EU-based service and maintenance capacity with spare parts availability ≤ 14 calendar days. | • CE & IEC certificates • Signed Grid code compliance Statement (Annex IV) • Evidence of EU service/maintenance center • Signed spare parts availability statement (Annex IV) |  |  |
| 6 | Sustainability & Compliance | Statement of compliance with EU environmental and social standards. Evidence of sustainable supply chain management, including exclusion of forced laborand high-risk suppliers outside the EU. | • Signed Sustainability & Compliance Statement (Annex V) • Supply chain policy confirmation |  |  |
| 7 | No conflict of interest | Statement of absence of conflict of interest under Article 61 of Regulation (EU, Euratom) 2018/1046 | No conflict of interest Statement (Annex VI) |  |  |